# SPS-XXXXXX Condition Assessment Report

Insert Date

# Approvals Page

# Site Information

| Facility | SPS-XXXXXX |
| --- | --- |
| Document Type | Asset Condition Assessment |

# Technical Approval

| Prepared by: |  |  |
| --- | --- | --- |
| Reviewed by: |  |  |
| Reviewed by: |  |  |
| Approved by: |  |  |

# Document Control

| Document Number | UW-XXX-XXXX |
| --- | --- |
| Version | Rev 0 |
| Status | Draft |
| Data Issued | 21/07/2026 |

Contents

1.	Introduction	3

2.	Site Overview	3

2.1	Site Specific Issues	3

3.	Inspection Scope of Works	3

4.	SPS-XXXXXX Inspection Report	4

4.1	Bypass Connection Point	4

4.2	SPS Details	4

4.3	Pump Specifications	6

4.4	Well Openings	7

4.5	General Improvement Works	7

4.6	Condition Assessment	7

5.	Condition Rating	10

5.1	Concrete Surface Profile (CSP)	11

6.	Recommended Scope of Works	13

Appendix 1 – Site Inspection Photos	14

Appendix 2 - Drawings	15

unitywater.com

Introduction

The AKaP business unit is carrying out condition assessments on Sewerage Pump Stations in the existing network. These assessments will document current condition and identify any required actions. The results will help determine whether assets need repair, restoration or replacement. This report outlines the inspection scope, observations and finding for each condition assessment completed by Unitywater.

Site Overview

Provide a short insight into where the station pump to and from:

- Include asset ID’s, the type of pipe work and material.

- Include which council catchment that it operates in and SPS address.

- Provide the EP number from the master plan.

- The detention times for both day and night.

- Details about any emergency storage.

Insert GIS Overview Photo

Insert SCADA diagram Photo.

Site Specific Issues

Give a brief description of the issues that arose in the previous work orders of the SPS and why a visit was necessary. E.g. switchboard flooding, failing riser bends new valve chamber configuration.

Inspection Scope of Works

Site Inspection and data capture

Conduct a full on-site condition assessment of the existing pump station, covering civil, mechanical, and coating components. Capture comprehensive 360-degree imagery from the top of the wet well of all accessible assets, including the wet well and valve chamber.

Post processing and review

Review all captured imagery off-site to verify and confirm observations made during the site inspection. This process ensures that all defects, asset conditions and structural details identified on site are validated through photographic evidence.

Report

Prepare a detailed condition assessment report summarising findings and supported by 360-degree photographic documentation. The report will outline recommended actions for repair, refurbishment, or replacement based on current state and condition rating of each asset. The report will also outline general site improvement opportunities, including upgrades to site access, safety and bypass arrangements. These broader considerations will be incorporated to provide a holistic view of the station’s operational performance and overall site functionality.

SPS-XXXXXX Inspection Report

Bypass Connection Point

If applicable, include asset ID of bypass. - SPS-XXXXXX includes a permanent bypass point located within access chamber ID:XXXXXXX, which allows flows to be diverted around the wet well and pumping system whenever the station is taken offline, including during maintenance activities, operational faults, renewal works, or upgrade projects.

SPS Details

Table 1: SPS Detail Table

| Parameter | Description / Value |
| --- | --- |
| SPS Name | SPS-XXXXXX |
| Emergency Storage |  |
| Detention Test Time (incl. Wet Wall Storage) | Daytime: Nighttime: |
| Pump Station Well Manufacture Type |  |
| Build Date | Maximo - XX/XX/XXXX (ID:XXXXXXX) |
| Well No.1 – Diameter | XXXX mm |
| Well No 1 - Depth | XXXX mm |
| Zero maintenance hole diameter |  |
| Zero maintenance hole access cover internal diameter |  |
| Zero maintenance hole invert level | SL: XX.XX (from uMap) IL: X.XX (from uMap) |
| Zero maintenance hole depth from top of cover | X.XX (from uMap) |
| Incoming Pipe Diameter | XXX mm |
| Outgoing Pipe Diameter – SRM mainline | XXX mm |
| Inlet Isolation Valve – SV, KGV, Penstock | XXX mm (SV, KGV, Penstock) (ID: XXXXXXX) |
| Spindle to Inlet Valve |  |
| Wet Well Inlet Pipe Type |  |
| Wet Well Inlet Pipe Suitable for Reuse? |  |
| Discharge pipe condition Through wall – Reuse or Replace |  |
| Discharge Bends (Riser Bends) |  |
| Support Brackets – Vertical well pipes |  |
| Sluice Valve Condition – 1 & 2 |  |
| Check Valve Condition – 1 & 2 |  |
| Extension Spindle to all Sluice Valves |  |
| Spindle Access Cover – Condition |  |
| Do any fittings require replacement inside well |  |
| Do any fittings require replacement outside the Well |  |
| Tapping Point Condition – Mainly tap to pipe |  |
| Ladder length – Valve Chamber |  |
| Ladder Length Wet Well |  |
| Do Ladders have stanchions |  |
| Handrail Condition – Valve Chamber to WW |  |
| Access Cover Valve Chamber – Condition |  |
| Valve Chamber – Fall Protection |  |
| Rail Safe Inserts in Place |  |
| Davit/s in place & adequate |  |
| Discharge Pipe Support Bracket condition – Valve Chamber |  |
| Flow Meter Chamber |  |
| Valve Chamber Drainage |  |
| Overflow |  |

Pump Specifications

Table 2: SPS-XXXXXX Pump Specs

| Pump Information | Pump 1 | Pump 2 |
| --- | --- | --- |
| Asset ID (Maximo) |  |  |
| Installation date (Maximo) |  |  |
| Make |  |  |
| Model |  |  |
| Year Manufacture |  |  |
| Weight |  |  |
| Kw |  |  |
| Amps |  |  |
| Motor RPM |  |  |
| Serial # |  |  |
| Curve |  |  |
| Impeller diameter |  |  |
| Discharge Diameter |  |  |
| Type & size of Guide Rails |  |  |
| Discharge Pedestal Type |  |  |

Well Openings

Table 3: SPS-KED345 Well Opening Details

| Measurement – Clear Opening Concrete | Measurement |
| --- | --- |
| L1 (mm) |  |
| L2 (mm) |  |
| Useable Width (U) – Guide Rail Centre to Inner Edge (mm) |  |

General Improvement Works

Table 4: SPS-XXXXXX Improvement Comments

| Condition | Comment |
| --- | --- |
| Site Conditions – pavements, sinkage, trip hazards |  |
| Noise |  |
| Odour and Ventilation |  |
| Safety (e.g., identity improvements required to lift pumps safely) |  |
| Safety (e.g., identify electrical safety improvements) |  |
| Water Meter & RPZV Device |  |
| Public Safety |  |
| Bypass connection point |  |
| Drain-pipe valve chamber to wet well |  |
| Scour & Gas Release Chamber |  |
| Zero Manhole |  |

Condition Assessment

Table 5: SPS-XXXXXX Asset Condition Ratings

| Condition | Rating (1 = Excellent to 5 = Very Poor) | Comment |
| --- | --- | --- |
| Signage |  |  |
| Access and Driveway |  |  |
| Switchboard |  |  |
| Property Pole |  |  |
| Telemetry |  |  |
| RPZ |  |  |
| Vent Pole / Base |  |  |
| Access Lid |  |  |
| Odour Seals |  |  |
| Fall Protection |  |  |
| Wet Well Wall |  |  |
| Ladder |  |  |
| Hand-railing |  |  |
| Inlet Penetration |  |  |
| Inlet Valve / Spindle |  |  |
| Dropper Pipe / Baffle |  |  |
| Benching |  |  |
| Pedestals |  |  |
| Pumps |  |  |
| Chains |  |  |
| Guide Rails |  |  |
| Guide Rail Brackets |  |  |
| Riser Pipework / Bends |  |  |
| Reflux Valves |  |  |
| Gate Valves / Spindles |  |  |
| Discharge Penetrations |  |  |
| Davit Base |  |  |
| Bypass |  |  |
| Zero Maintenance Hole |  |  |

Condition Rating

Unitywater uses a 1–5 asset condition scale aligned with WSAA/Queensland utility asset management frameworks, shown in Table 6.

Table 6: Asset Condition Rating Table

| Rating | Estimated Remaining Useful Life (%) | Interpretation | Description for Pumps | Descriptions for Wet Wells | Description for Other |
| --- | --- | --- | --- | --- | --- |
| 1 – As New | 85-100% | Asset is at or near the start of its service life. No degradation affecting life expectancy. | New, just installed | Concrete and/or lining in excellent condition with no defects | Excellent, no defects |
| 2 – Good | 65-85% | Minor deterioration only. Normal ageing but no meaningful loss of service life. | Localised minor wear becoming apparent, not affecting performance | Minor deterioration with no impact on structural integrity. | Good condition, minor problems – e.g., small amount of paint peeling off |
| 3 - Moderate | 35-65% | Mid-life condition. Active deterioration occurring. Life consumption accelerating depending on environment (H₂S, immersion, loading). | Areas of localised rust, evidence of erosion, a clear wear pattern, efficiency not affected | Moderate deterioration requiring planned maintenance or rehabilitation. | Moderate condition – structurally sound but covered in dust/muck/grease, paint peeling off, surface rust |
| 4 - Poor | 10-35% | End-of-life approaching. Defects significantly reducing durability and performance. High probability of failure within short–medium term. | Significant surface rust, pitting or localised wear, affecting performance | Significant deterioration affecting durability and potentially structural performance. | Poor condition – structural rust, little paint left |
| 5 – Very Poor | 0-10% | Asset is at or beyond end of useful life. Failure likely or already occurring. Replacement typically required. | Failed. Severe structural rust, wear, holes, integrity compromised, failure possible | Severe deterioration with structural capacity significantly reduced or compromised. | Structural condition is affecting operation of asset |

Concrete Surface Profile (CSP)

Concrete Surface Profile (CSP) is a standardized scale defined by the International Concrete Repair Institute (ICRI) that measures the roughness and texture of a concrete surface. Ranging from CSP 1 (nearly smooth) to CSP 9 (extremely rough), it determines the level of mechanical adhesion required for different coatings, overlays, and repair materials (Figure 3). Table 7 aligns CSP with Unitywater Condition Rating to assist with planning maintenance, rehabilitation and cost estimation.

Table 7 Concrete Surface Profile (CSP) Appearance (shown in ICRI 310.2R-2013)

| Unitywater Condition Rating | Typical Wet Well Wall Condition | Typical Defects | Typical ICRI CSP for Rehabilitation | Typical Surface Preparation |
| --- | --- | --- | --- | --- |
| 1 – As New | Concrete is in excellent condition with no deterioration. | No cracks, spalling, corrosion, or chemical attack. Minor staining only. | CSP 1–2 | Light grinding or acid etching. |
| 2 – Good | Minor deterioration with no impact on structural integrity. | Hairline cracking, minor surface pitting, light H₂S attack, isolated aggregate exposure. | CSP 3–4 | Light shot blasting or scarifying. |
| 3 - Moderate | Moderate deterioration requiring planned maintenance or rehabilitation. | Moderate concrete erosion, localised spalling, exposed aggregate, isolated reinforcement exposure, moderate chemical attack. | CSP 5–6 | Medium to heavy shot blasting. |
| 4 - Poor | Significant deterioration affecting durability and potentially structural performance. | Extensive spalling, exposed and corroding reinforcement, deep concrete loss, significant H₂S attack, joint deterioration. | CSP 7–8 | Heavy scarifying, scabbling or hydro-demolition. |
| 5 – Very Poor | Severe deterioration with structural capacity significantly reduced or compromised. | Large concrete loss, major cracking, delamination, severe reinforcement corrosion, wall movement or collapse risk. | CSP 9–10 | Hydro-demolition and structural concrete repair or replacement. |

Figure 3 CSP Surface Roughness Preparation Method - https://specchem.com/resources/concrete-surface-preparation-concrete-repairs/

Recommended Scope of Works

The inspection of SPS-XXXXXX identified the following assets as requiring consideration:

- List all required works to be done on SPS-XXXXXX

# Appendix 1 – Site Inspection Photos

| Site Layout |  |
| --- | --- |

| Switchboard |  |
| --- | --- |

| Davit Base | Top Slab |
| --- | --- |

| Bypass point | Property Pole |
| --- | --- |

| Wet Well |  |
| --- | --- |

| Vent Pole |  |
| --- | --- |

| Zero MH |  |
| --- | --- |

# Appendix 2 - Drawings